THE DIOCESE OF SHEFFIELD ACADEMIES TRUST

Premises Management Policy

2024-25

| Approved by: | DSAT Trust Board |  |
| --- | --- | --- |
| Last reviewed on: | Summer 2024 |  |
| Next review due by: | Summer 2025 |  |

Premises Management Policy

Contents

- Aims

- Guidance

- Roles and responsibilities

- Inspection and testing

- Risk assessments and other checks

- Monitoring arrangements

- Links with other policies

# Aims

Our school aims to ensure that it:

- Manages its buildings and equipment in an efficient, legally compliant way

- Inspects and tests buildings and equipment regularly, taking into account Statutory and Legislative requirements and best practice recommendations

- Promotes the safety and wellbeing of our staff, pupils, parents and visitors through effective maintenance of buildings and equipment in accordance with the Health and Safety at Work etc. Act 1974

- Complies with the requirements of The Education (Independent School Standards) Regulations 2014 which covers Academy Schools

- Complies with the requirements of the statutory framework for the EYFS where the school has an early year provision

# 2. Guidance

This document is based on the Department for Education’s guidance on Good estate management for schools.

This policy complies with our funding agreement and articles of association.

# 3. Roles and responsibilities

The Head Teacher / Head of School, their delegated officer (i.e. Business Manager/ Admin staff) and the Caretaker/Site Manager will ensure this premises management policy is properly implemented, and that tests and inspections are carried out in accordance with this policy.

The Head Teacher / Head of School is responsible for ensuring relevant risk assessments are conducted.

The Caretaker / Site Supervisor is responsible for:

- Inspecting and maintaining the school premises

- Conducting repairs and maintenance

- Along with the Business Manager / Admin Officer being the point of contact for any issues within the premises

- Carrying out legislative checks at the required intervals

- Liaising with the Head Teacher about what actions need to be taken to keep the school premises safe

This list is not intended to be exhaustive.

# 4. Inspection and testing

- Accurate records and details of all Legislative and Statutory Inspections are kept on site and checked on a regular basis by the Trust’s Buildings Manager. This includes relevant paperwork and certificates.

- All requirements and recommendations highlighted in inspection reports and certificates are reviewed and acted on as necessary.

- All requirements and recommendations highlighted in inspection reports and certificates are reviewed and acted upon as necessary. Advice is provided where required from the Trust’s Building Manager.

- A schedule of all legislative and Statutory inspections / Servicing has been formulated and these are checked on a regular basis by the Trust’s Building Manager.

The following table shows what is inspected / serviced / tested, the inspection frequency, and the person responsible for checking each issue and, where appropriate, engaging a suitably qualified person to carry out inspection, testing or maintenance. Some schools within the Trust may not have all the items listed.

| issue to inspect | frequency | person responsible |
| --- | --- | --- |
| Air Conditioning units | Annual Service | Approved Contractor |
| Asbestos Containing Materials | Monthly visual checks to ensure no damages R&D Surveys carried out prior to major works | Caretaker / Site Supervisor Licenced Contractor |
| Automatic Gates / Barriers | Annual Service | Approved Contractor |
| Display Energy Certificate | Annually | Approved Energy Consultant |
| Emergency lighting | Weekly visual checks Monthly testing Annual Servicing / Test | Caretaker / Site Supervisor Caretaker / Site Supervisor Approved Contractor |
| Fire Alarm | Weekly tests of call points Termly Fire Evacuation Drill Annual Service | Caretaker / Site Supervisor Head Teacher / Head of School Approved Contractor |
| Fire Doors | Monthly checks | Caretaker / Site Supervisor |
| Fire Fighting Equipment | Monthly visual checks Annual Service | Caretaker / Site Supervisor Approved Contractor |
| Fire Risk Assessment | Annually | Trust’s Buildings Manager |
| Fixed electrical installation tests | Every 5 years | Approved Contractor |
| Gas appliances and fittings | Annual Service | Gas Safe Registered Engineer |
| Gym and Fixed Play equipment | Annual Inspection | Approved Contractor |
| Legionella | Monthly water monitoring Annual Service Risk Assessment – renewed when significant changes have taken place End of school holidays -flushing of all water outlets | Caretaker / Site Supervisor Approved Contractor Approved Contractor Caretaker / Site Supervisor |
| Lifts | Service every 6 Months Statutory Inspection every 6 Months | Approved Contractor Approved Inspectors (Insurance Company) |
| Lightning Conductors | Annual Service | Approved Contractor |
| PAT Testing | Annually | Caretaker / Site Supervisor with training and certification |
| Pressure Systems | Annual Inspection | Approved Inspectors (Insurance Company) |
| Radon | Monitors Installed | Every 5 years (last completed spring 2024) |
| Roller Shutters - Automated | Annual Inspection | Approved Contractor |
| Sprinkler Systems | Annual Service | Approved Contractor |

# 5. Risk assessments and other checks

The required risk assessments are in place and reviewed on a regular basis

We also make sure further checks are made to confirm the following:

- Correct and up-to-date information is displayed in all notices

- Compliance with the Construction (Design and Management) Regulations 2015 during construction projects as advised by the Trust’s Building Manager

- Contractors have the necessary qualifications to carry out the specified work in our approved contractor list

- Compliance with the Equality Act 2010 when making changes or alterations to a building or the external environment

# 6. Monitoring arrangements

- Monthly Premises and site checks carried out and recorded by Caretaker / Site Supervisor and given to the School Business Manager / Admin Officer to arrange for any required action.  Advice can be sought through the Trust’s Building Manager.

- Copies of risk assessment and paperwork relating to any checks are kept in the school office

# 7. Links with other policies

This premises management policy is linked to our:

- Health and safety policy

- Business Continuity Plan

- Asbestos Management Plan

- Fire Plan

- Legionella Policy

- Risk assessments